Vigas Products: (boilers)

Vigas 16 AK3000 Lambda Control

Vigas 25 AK3000 Lambda Control

Vigas 40 AK3000 Lambda Control

Vigas 16 AK3000 S

Vigas 25 AK3000 S

Vigas 40 AK3000 S

Vigas 60 AK3000 S

Vigas 80 AK3000 S

Vigas 100 AK 3000 S

Accessories:

V25 Chimney draught regulator for Vigas 25

V80 Chimney draught regulator for Vigas 60,80,100

Thermal Safety Valve TS130 3/4"

AKVA standard Accumulator Tank:

| MODEL | DIAMETER (mm) | HEIGHT (mm) | WEIGHT (kg) | RESISTOR UNITS |
| --- | --- | --- | --- | --- |
| AKVA 300 EK | 710 | 2050 | 130 | 2 |
| AKVA 500 EK | 800 | 2050 | 155 | 2 |
| AKVA 750 EK | 950 | 2050 | 200 | 2 |
| AKVA 1000 EK | 1050 | 2100 | 230 | 2 |
| AKVA 1500 EK | 1250 | 2150 | 280 | 3 |
| AKVA 2000 EK | 1400 | 2200 | 330 | 4 |
| AKVA 2500 EK | 1500 | 2250 | 360 | 4 |
| AKVA 3000 EK | 1600 | 2300 | 400 | 4 |
| AKVA 4000 EK | 1800 | 2350 | 480 | 6 |
| AKVA 5000 EK | 2000 | 2500 | 600 | 6 |

EK = Isolated and with one coil

Diameter 200mm smaller without insulation

AKVASAN Renovation Accumulator Tank

| MODEL | DIAMETER (mm) | HEIGHT (mm) | WEIGHT (mm) | RESISTOR UNITS |
| --- | --- | --- | --- | --- |
| AKVASAN 0,5 EK | 810 | 1550 | 130 | 2 |
| AKVASAN 0,5 E | 810 | 1550 | 120 | 1 |
| AKVASAN 0,7 EK | 810 | 2050 | 160 | 2 |
| AKVASAN 0,7 E | 810 | 2050 | 150 | 1 |

EK = Isolated and with one coil			E = Isolated

AKVANTTI oval accumulator tank

| MODEL | HEIGHT/WIDTH (mm) | DEPTH (mm) | WEIGHT (kg) | RESISTOR UNITS |
| --- | --- | --- | --- | --- |
| AKVANTTI 1400 EK | 1660/1630 | 810 | 420 | 3 |
| AKVANTTI 1400E | 1660/1630 | 810 | 410 | 3 |
| AKVANTTI 2000 EK | 1840/2060 | 810 | 500 | 4 |
| AKVANTTI 2000 E | 1840/2060 | 810 | 490 | 4 |
| AKVANTTI 2400 EK | 2160/2060 | 810 | 560 | 4 |
| AKVANTTI 2400 E | 2160/2060 | 810 | 550 | 4 |

Accumulator Tanks for various needs

Made suitable for the various uses. The structural pressure is usually 3 or 4 bar. The capacity, hatches, units, hot water coils and other units are manufactured according to the customers requirements.

Cold Storage Tanks and Pressure Vessels

Cold Storage tanks, such as those made with stainless steel, are tailored for our customers according to the functional application. Storage tanks and pressure vessels can be used as storage units for various raw materials, as cold storages, equalising tanks, in recovery systems, and for other purposes. All necessary additional accessories, such as extra hatches, units, coils, mounting brackets e.t.c. are included when ordering the aforementioned tanks. The maximum diameter is 2400mm.

Electrical accessories

The accumulator's electric resistor units can be factory installed. The resistor material is high-quality Incology 825. The night electricity accumulator's accessories include 2-3 electric resistors for night time use as well as daytime resistors. The delivery also includes thermostats for night time and daytime use, manufactured to comply with the Finnish Electricity Association's drawing no. SLY 3.2, as well as a single overheating protector. If necessary the accumulator tank can be supplied with its own control panel. The accumulators' electrification can also be carried out according to the customer's preferences.

Hot water coil

Besides the standard coil, AKVA hot water coils are manufactured as ø 22 mm finned copper tubes for flows of 20-200 l/min (capacity 50-500 kW) according to the customer's dimensions. Structural pressure 10 bar.

| MODEL | CAPACITY kW | DIAMETER (mm) | LENGTH (mm) | UNIT R"male | FLOW l/min |
| --- | --- | --- | --- | --- | --- |
| AKVA LK 35 | 90 | 160 | 750 | ¾ | 35 |
| AKVA LK 45 | 120 | 160 | 950 | ¾ | 45 |
| AKVA LK 60 | 150 | 160 | 1250 | 1 | 60 |
| AKVA LK 80 | 205 | 250 | 900 | 1 ¼ | 80 |
| AKVA LK 100 | 255 | 300 | 1000 | 1 ½ | 100 |
| AKVA LK 120 | 310 | 300 | 1100 | 2 | 120 |

AKVAir Solar

The sunny side of heating.

Ensure your heat accumulation with tested and reliable Akvaterm accumulator tanks. Lower your carbon dioxide footprint by improved efficiency with solar, biomass or any other heating. AKVAir Solar models are designed to get the most heat out of your solar heating system. Combining solar with the AKVAir Solar models to any new or existing heating and you'll be using the least fuel while getting the most out of your solar.

Akvaterm is a European leader at accumulator tanks and special vessels. We have decades of experience in HEAT and COLD, which combined with our high quality and production capabilities provides overwhelming efficiency, continuous warmth and comfort to your living. In addition to our standard accumulator tanks optimized to your heating, we provide vessels for your different requirements of heating and cooling according to your specifications or eg. room measurements. We will gladly help you to define the build-up or specify equipment needed.

| MODEL | DIAMETER (mm) | HEIGHT (mm) | COILS | INSULATION (Seamless Urethane) |
| --- | --- | --- | --- | --- |
| AKVAir 300 Solar | 650 | 2050 | LK + Solar Coil | 70mm |
| AKVAir 500 Solar | 800 | 2050 | 2xLK + Solar Coil | 100mm |
| AKVAir 750 Solar | 950 | 2100 | 2xLK + Solar Coil | 100mm |
| AKVAir 1000 Solar | 1050 | 2100 | 2xLK + Solar Coil | 100mm |